## Slide 1: “Using Computer Technology to Overcome Bottlenecks in the Forensic DNA Testing Process and Improve Data Recovery from Complex Samples”
2018 AAFS Annual Scientific Meeting
February 22, 2018

## Slide 2: How Many DNA Profiles?
96-well plate
6 to 8 allelic ladders
At least two PCR controls
Several DNA extraction blanks
Typical plate could contain 80 to 84 DNA profiles

## Slide 3: Interpretation Bottleneck
Eight hour workday
8 hours x 60 minutes = 480 minutes
480 minutes / 84 DNA profiles =
5 minutes, 42 seconds per DNA profile

## Slide 4: Interpretation Bottleneck
Volume of data
Complexity
Thresholds

## Slide 5: “Thresholds? Where we’re going, we don’t need thresholds.”

## Slide 6: Automate DNA Interpretation with TrueAllele®
ViewStation
User Client
Database
Server
Interpret/Match
Expansion
Visual User Interface
VUIer™ Software
Parallel Processing Computers
Notes: Describe TrueAllele system (left, middle, right, middle, left)

## Slide 7: Automated Process
Upload entire plate to server
Computer interprets the mixtures
Automated matching
Operator checks results
Perform detailed processing on probative matches

## Slide 8: Benefits of Automated DNA Interpretation
No thresholds, all data examined, nothing discarded
Speed
  One plate in ~6 hours

## Slide 9: Benefits of Automated DNA Interpretation
All data compared:
  Evidence, references, lab staff, crime scene investigators, controls
  Identify more case-to-case matches and potential contamination
CODIS specimen and candidate match assessment

## Slide 10: CODIS Match Evaluation Example #1
Offender | Human Review, 30 minutes | TrueAllele,5 minutes | LR | CPI (1 in)
#1 | Uncertain | Eliminated | 1.5 | 39,000
#2 | Not eliminated | Eliminated | 2.7 | 39,000
#3 | Not eliminated | Match | 73 billion | 39,000

## Slide 11: CODIS Match Evaluation Example #2
Offender | MME | CPI (1 in) | LR
#1 | 1.728 x 104 | 65 | 158 trillion

## Slide 12: Improved Data Recovery
Uploaded 7 years of data to TrueAllele®
  >7,500 DNA profiles (Q and K)
  ~ 15,000 inferred genotypes
  Compared all data

## Slide 13: Previously Unidentified Matches
2014: Burglary case, uploaded to SDIS
  Offender hit
  Match confirmed in laboratory
2017: Process old data, upload to TrueAllele®
  3 additional cases from 2012 - 2014
  Never entered into CODIS

## Slide 14: Can we use the automated process for CODIS screening?
Sample
Minimum
#
Contributors
Major
?
4x4
Rule?
CPI
(1
in
)
LR
2012
3
No
No
28,000
6 quintillion
2013
3
No
No
920
27 trillion
2014
3
No
No
760
9 trillion

## Slide 15: CODIS Screening
KL computed by TrueAllele®
  Measures information value of inferred genotype
MME calculated by CODIS
  Predicts matches at moderate stringency
Compare MME, KL, and LR for CODIS profile assessment

## Slide 17: What We Are Implementing
Use KL to predict quality of match
Use MME to filter adventitious matches
  High KL – build MME, search CODIS
  Low KL – do not upload

## Slide 18: Summary
DNA interpretation is automatable
Reduce/eliminate interpretation bottlenecks
Output searched internally and screened for suitable CODIS profiles
More information recovered from same amount of data

## Slide 19: Thank you!